## BASE BID
| ATTACHMENT "A" |  |  |  | 2024-08-12
CLINTON AVENUE AND MONROE STREET STREETSCAPING IMPROVEMENTS PROJECT
Project No. 71-22-SP27
UNIT BID SHEET
ITEM NO. | DESCRIPTION | BID QTY | BID UNIT | BID UNIT PRICE | BID AMOUNT
I. General
1 | Mobilization | 1 | LS |  | 0
2 | Geometric Control | 1 | LS |  | 0
3 | Construction Trailer with 2 Offices furnished with Desk, Chairs, Drawing Tables, AC/Heat, water, sewer, internet, crushed stone parking | 22 | MONTHS |  | 0
4 | As Built Survey of Streetlights, Irrigation, Storm Sewer, Sanitary Sewer, Sealed by Alabama Registered Surveyor | 1 | LS |  | 0
5 | Huntsville Utilities Allowance (As Directed by the Engineer) | 1 | LS | 170000 | 170000
II. Demolition
6 | Remove Asphalt/Pavement | 565 | SY |  | 0
7 | Remove Concrete Island | 19 | SY |  | 0
8 | Remove Concrete Sidewalk | 688 | SY |  | 0
9 | Sawcut And Remove Curb And Gutter | 1324 | LF |  | 0
10 | Remove Guardrail | 90 | LF |  | 0
11 | Remove RCP Pipe All Sizes | 94 | LF |  | 0
12 | Reset Gas Valve | 1 | EA |  | 0
13 | Remove Fence | 1127 | LF |  | 0
14 | Adjust Telecom Box To Proposed Grade | 2 | EA |  | 0
15 | Adjust Telecom Box, Retrofit With Traffic Rated Top And Frame | 1 | EA |  | 0
16 | Remove Concrete And Steel Beam | 1 | EA |  | 0
17 | Remove Traffic Signal And Box | 1 | EA |  | 0
18 | Remove Traffic Junction Box | 1 | EA |  | 0
19 | Remove Signal Equipment | 1 | EA |  | 0
20 | Adjust Electrical Box | 1 | EA |  | 0
21 | Remove Inlet Top And Adjust To Grade | 2 | EA |  | 0
22 | Remove Irrigation Box | 1 | EA |  | 0
23 | Remove Streetlight | 4 | EA |  | 0
24 | Remove Bollard | 3 | EA |  | 0
25 | Remove Gate Post | 1 | EA |  | 0
26 | Reset Electrical Manhole | 1 | EA |  | 0
27 | Remove Up Lights | 2 | EA |  | 0
28 | Remove I Beam | 1 | EA |  | 0
29 | Reset Traffic Signal | 1 | EA |  | 0
30 | Reset Pedestrian Signal | 1 | EA |  | 0
31 | Reset Boxes For Traffic Signal | 2 | EA |  | 0
32 | Remove Sign | 2 | EA |  | 0
33 | Remove Fire Hydrant | 1 | EA |  | 0
III. Erosion Control
34 | Silt Fence to be installed, maintained and removed by contractor | 1400 | LF |  | 0
35 | Temporary Inlet Protection to be installed, maintained and removed by contractor | 10 | EA |  | 0
36 | Temporary Crushed Rock Check dams for Open Ditch's Inlet to be installed, maintained and removed by contractor | 10 | EA |  | 0
37 | 12" Diameter wattles (as directed by the Engineer) | 100 | LF |  | 0
38 | Sand Bags (As directed by the Engineer) | 200 | EA |  | 0
39 | Construction Exit Pad | 3 | EA |  | 0
IV. Roadway
40 | Undercut Excavation and Haul off from Site (Measured 15Cys/Triaxle Load) | 80 | CY |  | 0
41 | Borrow Excavation (Measure 15CYs/Triaxle Load) | 120 | CY |  | 0
42 | Geotextile Separation Fabric | 500 | SY |  | 0
43 | Class 1 Riprap for Undercut backfill | 200 | TON |  | 0
44 | Dense Graded Base ALDOT 301 825 Plant Mixed, 5" Compacted Thickness | 3320 | SY |  | 0
45 | Asphalt Pavement Milling (1-1/2" Depth) Monroe and Clinton | 9000 | SY |  | 0
46 | Asphalt Base Failure Repair to include full depth removal, subgrade preparation, 8" of asphalt pavement | 500 | SY |  | 0
47 | Asphalt Wearing Surface, ALDOT 424A-336 Max Agg Size 3/8" ESAL A/B 110 lbs/sy (New Roads) | 3320 | SY |  | 0
48 | Asphalt Wearing Surface Overlay ALDOT 424A -340 165llbs/SY (Clinton and Monroe) | 9000 | SY |  | 0
49 | Asphalt Upper Binder Layer ALDOT 424B -002 220lbs/sy Max Aggr Size 1/2" ESAL C/D (New Roads) | 3320 | SY |  | 0
50 | Tack ALDOT 405 (.10gal/SY) | 233 | GAL |  | 0
51 | Portland Cement Concrete Paving, 6", fiber reinforced to include all joints and 6" Layer of Compacted DGB | 1641 | SY |  | 0
52 | Portland Cement Concrete Paving, 8", fiber reinforced to include all joints and 6" Layer of Compacted DGB | 546 | SY |  | 0
53 | Combination 30" Concrete Curb and Gutter to include 5" Thick layer of DGB | 2115 | LF |  | 0
54 | 6" Concrete Standup Curb | 1925 | LF |  | 0
55 | 30" Concrete Valley Gutter to include 5" thick compacted layer of DGB | 567 | LF |  | 0
56 | Steel Beam Guardrail 630A-001, Class A, Type 2 | 56 | LF |  | 0
57 | Guardrail End Anchor 630C-001 Type 8 | 1 | EA |  | 0
58 | Traffic Signal to include concrete foundations, poles, mast arms, signals with backplates, controller, meter base, (2",3",6") roadway bores, conduit, conductors, grounding, traffic junction box, traffic signs , concrete pad mounted all weather cabinet, pedestrian push buttons, luminaires, video detection units, Complete Functioning System Installed in Accordance with Huntsville Traffic Engineering Specifications | 1 | LS |  | 0
59 | Temporary Construction Signs ALDOT type 740 with U-Channel Posts to be furnished, maintained, adjusted and retained by contractor | 25 | EA |  | 0
60 | Jersey Barriers to be furnished, installed, maintained, adjusted and retained by contractor | 800 | LF |  | 0
61 | Channelizing Drums with ballast to be furnished, maintained, adjusted and retained by contractor | 115 | EA |  | 0
62 | Arrow Boards to be furnished, maintained, adjusted and retained by contractor | 8 | EA |  | 0
63 | Portable Message Board ALDOT 742 Type 2 to be furnished, maintained, adjusted and retained by contractor | 8 | EA |  | 0
64 | Type 3 Barricades with (2) Type B Warning Lights to be furnished, maintained, adjusted and retained by contractor | 20 | EA |  | 0
65 | 15" Class III RCP to include excavation, stone backfill, ties to structures CIP | 342 | LF |  | 0
66 | 18" Class III RCP to include excavation, stone backfill, ties to structures CIP | 601 | LF |  | 0
67 | 24" Class III RCP to include excavation, stone backfill, ties to structures CIP | 377 | LF |  | 0
68 | 30" Class III RCP to include excavation, stone backfill, ties to structures CIP | 263 | LF |  | 0
69 | 36" Class III RCP to include excavation, stone backfill, ties to structures CIP | 232 | LF |  | 0
70 | 18" Arch Class III RCP to include excavation, stone backfill, ties to structures CIP | 168 | LF |  | 0
71 | 24" Arch Class III RECP to include excavation, stone backfill, ties to structures CIP | 160 | LF |  | 0
72 | 12" HP Pipe to include excavation, stone backfill, ties to structures CIP | 32 | LF |  | 0
73 | 12" HP Pipe with Duraslot Drain to include excavation, stone backfill, ties to structures CIP | 130 | LF |  | 0
74 | Nyloplast 12" Drain Basin to include excavation, stone backfill, ties to structures CIP | 1 | EA |  | 0
75 | 12"X12" Bronze Grate Inlet with Nyloplast 12" Drain Basin Cip | 1 | EA |  | 0
76 | Type S Inlet (Single Wing) to include excavation, stone backfill, ties to structures CIP | 2 | EA |  | 0
77 | Type S Inlet (Double Wing) to include excavation, stone backfill, ties to structures CIP | 1 | EA |  | 0
78 | Type S Inlet (Double Wing, Custom Box) to include excavation, stone backfill, ties to structures CIP | 2 | EA |  | 0
79 | Curb Inlet (Custom Box) to include excavation, stone backfill, ties to structures CIP | 1 | EA |  | 0
80 | Curb Inlet DR-105 A to include excavation, stone backfill, ties to structures CIP | 12 | EA |  | 0
81 | Grate Inlet DR-125 D to include excavation, stone backfill, ties to structures CIP | 10 | EA |  | 0
82 | Open Throat Inlet (Custom Box) to include excavation, stone backfill, ties to structures CIP | 2 | EA |  | 0
83 | Junction Box to include excavation, stone backfill, ties to structures CIP | 9 | EA |  | 0
84 | Slope Paved Headwall, All Sizes | 6 | EA |  | 0
85 | 12" D.I. Class 350 Sanitary Sewer Line to include excavation, pipe bedding, stone backfill, testing | 960 | LF |  | 0
86 | 4' Diameter Sanitary Sewer Manhole (10'-12' Depth) to include excavation, stone backfill, poured invert, connection boots, steps, manhole ring and cover, testing CIP | 6 | EA |  | 0
87 | 4' Diameter Sanitary Sewer Manhole (12'-14' Depth) to include excavation, stone backfill, poured invert, connection boots, steps, manhole ring and cover, testing CIP | 1 | EA |  | 0
88 | Class 2 Type A Thermoplastic Pavement Markings And Legends | 350 | SF |  | 0
89 | Class 2, Type A Thermoplastic Roadway Striping 4" Solid all colors | 31200 | LF |  | 0
90 | Class 2 Type A Thermoplastic Roadway Striping 4" Broken all colors | 4000 | LF |  | 0
91 | Class 2 Type A Thermoplastic Roadway Striping 4" Dotted all colors | 2000 | LF |  | 0
92 | 4" Temporary Striping all colors | 41600 | LF |  | 0
93 | Pavement Striping and Marking Removal by grinding | 1000 | SF |  | 0
94 | Reflective Pavement Markers | 500 | EA |  | 0
95 | Permanent Street Signs to Include Sign Post (Huntsville Traffic Engineering Latest Specifications) | 6 | EA |  | 0
96 | Street Name Sign Blades (Huntsville Traffic Engineering Latest Specifications) | 6 | EA |  | 0
97 | Truncated Dome Paver for Handicap Ramps | 850 | SF |  | 0
98 | Handicap Ramp Cheek wall 6" Width Height Varies from 0" - 12" | 100 | LF |  | 0
V. Utilities
99 | 6" SCH 40 PVC Conduit to include excavation, stone backfill, locator tape, pull cord CIP | 900 | LF |  | 0
100 | 5" SCH 40 PVC Conduit to include excavation, stone backfill, locator tape, pull cord CIP | 1200 | LF |  | 0
101 | 6" SCH 40 PVC Conduit to include Pavement Sawing excavation, stone backfill, locator tape, pull cord, 3" Asphalt Pavement Patch Replacement CIP | 1400 | LF |  | 0
102 | 5" SCH 40 PVC Conduit to include Pavement Sawing excavation, stone backfill, locator tape, pull cord, 3" Asphalt Pavement Patch Replacement CIP | 1150 | LF |  | 0
103 | Install HU Furnished S3 Cabinet Base to include excavation, stone backfill CIP | 5 | EA |  | 0
104 | Install Reinforced Concrete Switchgear Base to include excavation, stone backfill, concrete, steel reinforcement CIP | 1 | LS |  | 0
105 | Tie 6" PVC Conduit to existing HU Vault to include coring and sealing of penetration | 3 | EA |  | 0
106 | Tie 5" PVC Conduit to existing HU Vault to include coring and sealing of penetration | 2 | EA |  | 0
107 | Install 6" Long Sweeping Galvanized Elbows to include excavation, concrete encasement | 10 | EA |  | 0
108 | Install 5" Long Sweeping Galvanized Elbows to include excavation, concrete encasement | 21 | EA |  | 0
109 | Install Double Chimney Concrete Vault to include excavation, stone backfill, Vault, Manhole risers, steps, traffic rated covers, penetrations, 3" Asphalt Pavement Patch CIP | 1 | EA |  | 0
110 | 12" D.I. CL 350 TYT Water Pipe to include excavation, stone backfill, 3" asphlat patch, fittings, thrust block concrete chlorination and testing CIP | 300 | LF |  | 0
111 | 8" D.I. CL 350 TYT Water Pipe to include excavation, stone backfill, 3" asphalt patch, fittings, thrust block concrete chlorination and testing CIP | 1720 | LF |  | 0
112 | 6" D.I. CL 350 TYT Water Pipe to include excavation, stone backfill, 3" asphalt patch,fittings, thrust block concrete chlorination and testing CIP | 60 | LF |  | 0
113 | Fire Hydrant Assembly to include excavation, stone backfill, fittings, thrust block concrete chlorination and testing CIP | 7 | EA |  | 0
114 | 12 x 8 Tapping Sleeve and Valve, S.S. for D.I. and PVC to include excavation stone backfill, fittings, trust block concrete chlorination and testing CIP | 1 | EA |  | 0
115 | 6 x 6 Tapping Sleeve and Valve, S.S. for D.I. and PVC to include excavation stone backfill, fittings, trust block concrete chlorination and testing CIP | 2 | EA |  | 0
116 | 8" Gate Valve, MJ to include excavation, stone backfill, valve and valve box CIP | 6 | EA |  | 0
117 | 6" Gate Valve, MJ to include excavation, stone backfill, valve and valve box CIP | 1 | EA |  | 0
118 | 8" Tap Valve, MJ to include excavation, stone backfill, valve and valve box CIP | 1 | EA |  | 0
119 | 6" Tap Valve, MJ to include excavation, stone backfill, valve and valve box CIP | 1 | EA |  | 0
120 | 6" Directional Boring (As Directed by the Engineer) | 250 | LF |  | 0
121 | Utility Conflict Concrete (As Directed by the Engineer) | 100 | CY |  | 0
VI. Streetlights
122 | Lighting, to include meter bases, Contactor, transformer bases, concrete foundations, fixtures, poles, conduit, wiring, grounding CIP | 1 | LS |  | 0
VII. Landscaping and Streetscaping
123 | Tournesal Zena Collection Planter With Matching Irrigation CIP | 57 | EA |  | 0
124 | Landscape Forms - Bola Bike Rack CIP | 9 | EA |  | 0
125 | Mmcite - Lv155 Park Bench With Backrest And Armrests CIP | 13 | LF |  | 0
126 | Landscape Forms Peri-117-Rb 117" Aluminum And Wood Bench CIP | 6 | EA |  | 0
127 | 4" Concrete Sidewalk Paving - Medium Broom Finish to include excavation, all joints, and 4" stone leveling layer | 3177 | SY |  | 0
128 | Hanover - Permeable Paver 3.25"X18" to include excavation, leveling layer CIP | 406 | SY |  | 0
129 | Hanover - Prest Brick 4"X8" - Russett to include excavation, bedding, mortar joints installed accordance to Manufactures Recommendations | 48 | SY |  | 0
130 | Hanover - Prest Brick 6"X12"X4" - Limestone Gray to include excavation, bedding, mortar joints installed accordance to Manufactures Recommendations | 575 | SY |  | 0
131 | Urban Accessories Jamison 5X10 Tree Grate CIP | 19 | EA |  | 0
132 | Tiftuf Bermudagrass Sod to include soil prep, fertilization, liming | 165 | SY |  | 0
133 | Irrigation Complete to include water meter tap fee and water usage through construction | 1 | LS |  | 0
134 | Plantings Complete in Place with 1 Year Warranty | 1 | LS |  | 0
135 | Planting Zone Excavation, 24" Depth to include removal and haul off | 1500 | CY |  | 0
136 | Topsoil for Planting Areas, to include soil testing and amendments | 750 | CY |  | 0
137 | Mulch, placed at a settled thickness of 3" | 500 | CY |  | 0
| TOTAL BASE BID |  |  |  | 170000
ALL ITEMS SHALL BE CONSIDERED IN-PLACE. PRICES SHALL INCLUDE ALL LABOR, EQUIPMENT,MATERIALS, AND REMOVALS AS REQUIRED FOR CONSTRUCTION OF THE REQUIRED WORK.
COMPANY__________________________ SIGNATURE_________________________ DATE______________________________